| CONSULTATION SUMMARY |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| #### Case reference number(s) |  |  |  |  |  |  |  |
| #### 2018/4019/P |  |  |  |  |  |  |  |
| #### Case Officer: |  |  |  | #### Application Address: |  |  |  |
| Josh Lawlor |  |  |  | Flat A 108 Goldhurst Terrace London NW6 3HR |  |  |  |
| #### Proposal(s) |  |  |  |  |  |  |  |
| Excavation of basement with front lightwell and rear lightwell; erection of single storey rear extension. |  |  |  |  |  |  |  |
| ## Representations |  |  |  |  |  |  |  |
| ## Consultations: | No. notified | 0 | No. of responses |  | 0 | No. of objections No of comments No of support | 2 0 0 |
| ## Summary of representations ## (Officer response(s) in italics) | Two objections were received from separate addresses: - Basement development undermines buildings and though it does show immediately, give it 5 to 7 years before the cracks appear leading to subsidence. The other issue is drainage and the increase of displaced vermin - I'm in during the daytime and I think the machine noise will be upsetting. I will probably have to leave the flat when the noise occurs. I'm not sure if the noise can be ameliorated Officer response: - The applicant has submitted a Basement Impact Assessment (BIA) which has been subject to independent verification by Campbell Reith in accordance with Policy A5 and CPG Basements. Each stage of the BIA has been carried out by engineering professionals who hold qualifications relevant to the matters being considered. The proposed basement is considered acceptable in relation to ground movement and flood risk. - Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |  |  |  |  |  |  |
| ## Recommendation:- ## Grant planning permission |  |  |  |  |  |  |  |