**TABLE 1 - Schedule of Plans – Including consented Plans under Planning and Listed Building Consent (Ref 2019/4241/P and 2019/4517/L) condition 3 and**

**Plans to be amended. New plan reference numbers and comment on the proposed change.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Consented Plan Number** | **Plan title** | **New Plan Number** | **New Plan Title** | **Comment on the proposed change** |
|  |  |  |  |  |
| 1808-SP-P-00-MF-01-03 |  | 1808-SP-P-00-MF-01-03 |  | n/a |
| 1808-SPP-01-DR-A-P-25-XX-01-01-P01 | PROPOSED ELEVATIONS | 1808-SP-01-DR-A-P-25-XX-01-01-P02 | PROPOSED ELEVATIONS | Slight adaption to rear façade as to include existing stack and new kitchen extract vent |
| 1808-SPP-01-DR-A-P-26-XX-01-01-P01 | PROPOSED SECTION 01 | 1808-SPP-01-DR-A-P-26-XX-01-01-P02 | PROPOSED SECTION 01 | Inclusion of fire and building regulations related items and updates to include roof level alterations. Adaption to levels 2&3 layout |
| 1808-SPP-01-DR-A-P-26-XX-01-02-P01 | PROPOSED SECTION 02 | 1808-SPP-01-DR-A-P-26-XX-01-02-P02 | PROPOSED SECTION 02 | Updates to include roof level alterations and adaption to levels 2&3 layout |
| 1808-SPP-01-DR-A-D-20-0G-01-01-P01 | DEMOLITION LEVEL 0G | 1808-SPP-01-DR-A-D-20-0G-01-01-P02 | DEMOLITION LEVEL 0G | Update to include required riser penetrations. |
| 1808-SPP-01-DR-A-D-20-0R-01-01-P01 | DEMOLITION ROOF | 1808-SPP-01-DR-A-D-20-0R-01-01-P02 | DEMOLITION ROOF | Update to include required roof penetrations for roof lights and access. |
| 1808-SPP-01-DR-A-D-20-01-01-01-P01 | DEMOLITION LEVEL 01 | 1808-SPP-01-DR-A-D-20-01-01-01-P02 | DEMOLITION LEVEL 01 | Update to include required riser penetrations. |
| 1808-SPP-01-DR-A-D-20-02-01-01-P01 | DEMOLITION LEVEL 02 | 1808-SPP-01-DR-A-D-20-02-01-01-P02 | DEMOLITION LEVEL 02 | Update to include required riser penetrations. |
| 1808-SPP-01-DR-A-D-20-03-01-01-P01 | DEMOLITION LEVEL 03 | 1808-SPP-01-DR-A-D-20-03-01-01-P02 | DEMOLITION LEVEL 03 | Update to include required riser penetrations. |
| 1808-SPP-01-DR-A-D-20-B1-01-01-P01 | DEMOLITION LEVEL B1 | 1808-SPP-01-DR-A-D-20-B1-01-01-P01 | DEMOLITION LEVEL B1 | n/a |
| 1808-SPP-01-DR-A-D-25-XX-01-01-P01 | DEMOLITION ELEVATIONS | 1808-SPP-01-DR-A-D-25-XX-01-01-P01 | DEMOLITION ELEVATIONS | n/a |
| 1808-SPP-01-DR-A-D-26-XX-01-01-P01 | DEMOLITION SECTION 01 | 1808-SPP-01-DR-A-D-26-XX-01-01-P02 | DEMOLITION SECTION 01 | Update to include required riser penetrations. |
| 1808-SPP-01-DR-A-D-26-XX-01-02-P01 | DEMOLITION SECTION 02 | 1808-SPP-01-DR-A-D-26-XX-01-02-P01 | DEMOLITION SECTION 02 | n/a |
| 1808-SPP-01-DR-A-E-20-0G-01-01-P01 | EXISTING LEVEL 0G | 1808-SPP-01-DR-A-E-20-0G-01-01-P01 | EXISTING LEVEL 0G | n/a |
| 1808-SPP-01-DR-A-E-20-0R-01-01-P01 | EXISTING ROOF | 1808-SPP-01-DR-A-E-20-0R-01-01-P01 | EXISTING ROOF | n/a |
| 1808-SPP-01-DR-A-E-20-01-01-01-P01 | EXISTING LEVEL 01 | 1808-SPP-01-DR-A-E-20-01-01-01-P01 | EXISTING LEVEL 01 | n/a |
| 1808-SPP-01-DR-A-E-20-02-01-01-P01 | EXISTING LEVEL 02 | 1808-SPP-01-DR-A-E-20-02-01-01-P01 | EXISTING LEVEL 02 | n/a |
| 1808-SPP-01-DR-A-E-20-03-01-01-P01 | EXISTING LEVEL 03 | 1808-SPP-01-DR-A-E-20-03-01-01-P01 | EXISTING LEVEL 03 | n/a |
| 1808-SPP-01-DR-A-E-20-B1-01-01-P01 | EXISTING LEVEL B1 | 1808-SPP-01-DR-A-E-20-B1-01-01-P01 | EXISTING LEVEL B1 | n/a |
| 1808-SPP-01-DR-A-E-25-XX-01-01-P01 | EXISTING ELEVATIONS | 1808-SPP-01-DR-A-E-25-XX-01-01-P02 | EXISTING ELEVATIONS | Update to include existing external stack and gutter. |
| 1808-SPP-01-DR-A-E-26-XX-01-01-P01 | EXISTING SECTION 01 | 1808-SPP-01-DR-A-E-26-XX-01-01-P01 | EXISTING SECTION 01 | n/a |
| 1808-SPP-01-DR-A-E-26-XX-01-02-P01 | EXISTING SECTION 02 | 1808-SPP-01-DR-A-E-26-XX-01-02-P01 | EXISTING SECTION 02 | n/a |
| 1808-SPP-01-DR-A-P-20-0G-01-01-P01 | PROPOSED LEVEL 0G | 1808-SPP-01-DR-A-P-20-0G-01-01-P02 | PROPOSED LEVEL 0G | Inclusion of fire and building regulations related items and riser serving levels 2&3 |
| 1808-SPP-01-DR-A-P-20-0R-01-01-P01 | PROPOSED ROOF | 1808-SPP-01-DR-A-P-20-0R-01-01-P02 | PROPOSED ROOF | Inclusion of fire and building regulations related items and updates to include roof level alterations |
| 1808-SPP-01-DR-A-P-20-01-01-01-P01 | PROPOSED LEVEL 01 | 1808-SPP-01-DR-A-P-20-01-01-01-P02 | PROPOSED LEVEL 01 | Inclusion of fire and building regulations related items and riser serving levels 2&3 |
| 1808-SPP-01-DR-A-P-20-02-01-01-P01 | PROPOSED LEVEL 02 | 1808-SPP-01-DR-A-P-20-02-01-01-P02 | PROPOSED LEVEL 02 | Inclusion of fire and building regulations related items and general layout adaption |
| 1808-SPP-01-DR-A-P-20-03-01-01-P01 | PROPOSED LEVEL 03 | 1808-SPP-01-DR-A-P-20-03-01-01-P02 | PROPOSED LEVEL 03 | Inclusion of fire and building regulations related items and general layout adaption |
| 1808-SPP-01-DR-A-P-20-B1-01-01-P01 | PROPOSED LEVEL B1 | 1808-SPP-01-DR-A-P-20-B1-01-01-P02 | PROPOSED LEVEL B1 | Inclusion of fire and building regulations related items |
| 1808-SPP-01-DR-A-P-00-XX-01-01 | PROPOSED SITE PLAN | 1808-SPP-01-DR-A-P-00-XX-01-01 – PO3 | PROPOSED SITE PLAN | Updated to include roof level alterations. |