| CONSULTATION SUMMARY |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| #### Case reference number(s) |  |  |  |  |  |  |  |
| #### 2021/0740/P |  |  |  |  |  |  |  |
| #### Case Officer: |  |  |  | #### Application Address: |  |  |  |
| Josh Lawlor |  |  |  | 7A Lupton Street London NW5 2JA |  |  |  |
| #### Proposal(s) |  |  |  |  |  |  |  |
| Erection of single storey rear extension to lower ground floor flat. |  |  |  |  |  |  |  |
| ## Representations |  |  |  |  |  |  |  |
| ## Consultations: | No. notified | 0 | No. of responses |  | 0 | No. of objections No of comments No of support | 0 2 0 |
| ## Summary of representations | 5 Lupton Street and 5A Lupton Street made the following comments on the application: - Drawing ABC182/5006 is incorrect in that it shows a timber fence stretching the full length of the garden between 7A and 5. There is currently a timber fence starting at the light well and ending at the end of the proposed extension. Beyond that is a low brick wall. - Drawing ABC182/5006, showing the new position of patio, will provide no privacy for number 5 unless there is a higher wall between the two properties. - The required excavation for the new paved patio area will impact the foundations of the existing party brick wall and a rebuild of this party wall seems unavoidable. - The plans do not clarify what will be done to avoid the roof of the extension to be used as a terrace for the upper floors at number 7. We object to any use of the roof as a terrace as this would seriously impact the privacy of the garden at number 5. - The plans do not detail any timescale for the works proposed and there is no indication of the level of disruption it may cause for neighbours working and studying at home, especially during this summer. Officer response: - The plan is indicative and shows the location of the boundary treatment. The existing boundary fence would be maintained and does not need to be altered. The potential overlooking between gardens is not consider to cause a harm to neighbouring amenity. - No significant excavation is proposed. The retaining wall at rear garden will have a mass concrete strip footing of 450-550mm depth and 450mm wide to support 1M retaining wall. This effectively pushes the rear retaining wall back which is acceptable. - See informative 4 of the decision notice for details of working hours. - Condition 5 of the decision notice restricts use of the roof as a terrace. |  |  |  |  |  |  |
| ## Recommendation:- ## Grant planning permission |  |  |  |  |  |  |  |