|  | S |
| --- | --- |

ENVIRONMENTAL HEALTH

SUPPORTING COMMUNITIES

| To: | Matthew Dempsey, Planning Officer, Development Management, 5 Pancras Square N1C |
| --- | --- |
| From: | Edward Davis (Pollution Planning Officer) |
| Date: | 21 September 2021 |
| Re: | 2 Vane Close London NW3 5UN |
| Proposal: | Erection of single storey rear extension with bay window, roof light and green roof, and enlarged window to south elevation at ground floor. |
| Reference: | Planning application ref. 2021/1607/P |
| Key Points: | The proposals are acceptable in environmental health terms |

# ENVIRONEMTAL HEALTH OBERVATIONS

the site is bounded by Greenhill and Hampstead High Street to the North, Vane Close and residential dwellings to the West and South, and Pilgrim Place and residential dwellings to the East.

Appropriate noise guidelines have been followed within the report such as Noise Policy Statement for England, National Planning Policy Framework (NPPF), Planning Practice Guidance on Noise, Camden Council’s Local Plan, version June 2017 and BS 84142:2014.

It is understood that the proposed plant installation is comprised of 1No. Mitsubishi PUZ-WM85VAA(-BS) Air source Heat pump unit.

The closest noise sensitive receiver to the proposed installation location has been identified as being a Ground Floor residential window facing Vane Close

It has been reasonably concluded in the acoustic submission that although the noise emission does not meet the -10dB criteria, the noise emissions from the proposed plant unit should not have an adverse impact on the nearest sensitive receivers provided that the noise control strategy presented in the acoustic submission are employed.

I am satisfied that the submitted acoustic submission meets our local plan guidelines and therefore acceptable in environmental health terms.  I offer no objections to the application and suggest the following should you be mindful to grant the application.

Suggested conditions:

The external noise level emitted from plant, machinery or equipment at the development hereby approved shall meet the ‘Amber’ criteria of policies A1 and A4 of the London Borough of Camden Local Plan 2017at the nearest and/or most affected noise sensitive premises, with the machinery operating at maximum capacity.

Reason: To ensure that the amenity of occupiers of the development site/ surrounding premises is not adversely affected by noise from mechanical installations/ equipment in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017

Prior to use, machinery, plant or equipment at the development shall be mounted with proprietary anti-vibration isolators and fan motors shall be vibration isolated from the casing and adequately silenced and maintained as such.

Reason: To ensure that the amenity of occupiers of the development site and surrounding premises is not adversely affected by vibration in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017

If you have any queries, please do not hesitate to contact me.

Regards

Edward Davis

Pollution Planning Officer

Supporting Communities

London Borough of Camden

Telephone:   02079745550/ Mobile: 07967652382