DECISION

Town and Country Planning Act 1990 (as amended)

Full Planning Permission Granted

Address:

55 Argyle Street

London

WC1H 8EE

Proposal:

Replacement of existing exhaust pipe, relocation of plant enclosure, addition of 1 ventilation opening, enlargement of existing window, addition of door to front facade and windows to front, east and west elevations, and addition of 2 enclosed roof spaces and 5 new doors at second level.

Drawing Nos: 00473-HS-RF-DR-A-10-0106 (site location plan); 00473-HS-RF-DR-A-10-0105; 00473-HS-B1-DR-A-10-0100; 00473-HS-GF-DR-A-10-0101; 00473-HS-01-DR-A-10-0102; 00473-HS-02-DR-A-10-0102; 00473-HS-MF-DR-A-10-0103; 00473-HS-RF-DR-A-10-0104; 00473-HS-XX-DR-A-20-0300; 00473-HS-XX-DR-A-20-0301; 00473-HS-XX-DR-A-33-0402; 00473-HS-RF-DR-A-13-0205; 00473-HS-B1-DR-A-13-0200; 00473-HS-GF-DR-A-13-0201; 00473-HS-01-DR-A-13-0202; 00473-HS-02-DR-A-13-0203; 00473-HS-MF-DR-A-13-0204; 00473-HS-RF-DR-A-13-0205; 00473-HS-XX-DR-A-33-0401; 00473-HS-XX-DR-A-33-0402; 00473-HS-XX-DR-A-33-0400 (dated 14/01/2022); 00473-HS-XX-DR-A-20-0303; Design & Access Statement; 21370-R02-A (Environmental noise survey and plant noise egress limits)

The Council has considered your application and decided to grant permission subject to the following condition(s):

Condition(s) and Reason(s):

| 1 | The development hereby permitted must be begun not later than the end of three years from the date of this permission. Reason: In order to comply with the provisions of Section 91 of the Town and Country Planning Act 1990 (as amended). |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans 00473-HS-RF-DR-A-10-0106 (site location plan); 00473-HS-RF-DR-A-10-0105; 00473-HS-B1-DR-A-10-0100; 00473-HS-GF-DR-A-10-0101; 00473-HS-01-DR-A-10-0102; 00473-HS-02-DR-A-10-0102; 00473-HS-MF-DR-A-10-0103; 00473-HS-RF-DR-A-10-0104; 00473-HS-XX-DR-A-20-0300; 00473-HS-XX-DR-A-20-0301; 00473-HS-XX-DR-A-33-0402; 00473-HS-RF-DR-A-13-0205; 00473-HS-B1-DR-A-13-0200; 00473-HS-GF-DR-A-13-0201; 00473-HS-01-DR-A-13-0202; 00473-HS-02-DR-A-13-0203; 00473-HS-MF-DR-A-13-0204; 00473-HS-RF-DR-A-13-0205; 00473-HS-XX-DR-A-33-0401; 00473-HS-XX-DR-A-33-0402; 00473-HS-XX-DR-A-33-0400 (dated 14/01/2022); 00473-HS-XX-DR-A-20-0303; Design & Access Statement; 21370-R02-A (Environmental noise survey and plant noise egress limits) Reason: For the avoidance of doubt and in the interest of proper planning. |
| 3 | All new external work shall be carried out in materials that resemble, as closely as possible, in colour and texture those of the existing building, unless otherwise specified in the approved application. Reason: To safeguard the appearance of the premises and the character of the immediate area in accordance with the requirements of policy D1 and D2 of the London Borough of Camden Local Plan 2017. |
| 4 | Prior to the use of any plant, further details of the plant and mitigation measured shall be submitted to and approved in writing by the Council. The details must include the external noise level emitted from the installation including specified mitigation measures as appropriate. The measures shall ensure that the cumulative noise level at 1m from the worst affected windows of the nearby noise sensitive premises does not exceed LAeq,15min 35dB during the daytime, and LAeq,15min 32dB during the night, with all machinery operating together at maximum capacity. The approved details shall be implemented prior to use of any of the plant and thereafter be permanently retained. Reason: To ensure that the amenity of occupiers in the area are not adversely affected by noise from mechanical installations/ equipment in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017 |
| 5 | Prior to use, machinery, plant or equipment at the development shall be mounted with proprietary anti-vibration isolators and fan motors shall be vibration isolated from the casing and adequately silenced and maintained as such. Reason: To ensure that the amenity of occupiers of the development site and surrounding premises is not adversely affected by vibration in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017 |
| 6 | Within two weeks of the relevant windows being installed, the windows shown on drawing number 00473-HS-XX-DR-A-33-0400 (dated 14.01.2022) as being fixed shut and obscured, shall be fitted with obscure glass or film, and shall be non-opening and permanently fixed shut, and the windows shall be retained as such for the duration of the development. Reason: In order to prevent unreasonable overlooking of neighbouring premises in accordance with policy A1 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting permission. The host property is located within Sub area 4: Gray's Inn Road of the Kings Cross St Pancras conservation area, and is not listed. The proposal involves various minor alterations including the replacement of an exhaust pipe, relocation of plant equipment, alterations to front façade, addition of windows and doors, and erection of part roof extensions. The proposed external changes are relatively minor in nature and largely seek to refurbish the host building, with matching materials and detailed designs being used (i.e. new ventilation opening, enlargement of 1 window and exhaust pipe replacement and relocation, replacement of ground floor rear door). Where new additions are proposed (e.g. addition of 1 window, extension of roof to form 2 roof enclosures) these are modest and appropriate to the host building and the site such that no significant harm would be caused to the architectural or historic integrity of the building or the character or appearance of the wider area. The proposed alterations to the front façade and the addition of high level windows above the existing glazing on both east and west elevations would be acceptable. Although the loss of the original deep reveers on the façade is regrettable, the addition of timber framed glazing, double doors and metal clad canopy would be acceptable and not harm the character and appearance of the street scene. The majority of the proposed high level windows on the east elevation would be fixed shut and obscured glazed in order to minimise any potential overlooking or other neighbouring amenity concerns. It is proposed to move the existing plant and enclosure from the ground floor on the premises to the rear façade balcony of the second level mezzanine floor. In design and heritage terms, the relocation of the plant equipment would be acceptable. It would be in a less visible location from the public realm and would enhance the appearance of the Kings Cross St Pancras conservation area. The nearest residential receptor is the site to the north of the host building, which is a group of residential blocks. The Council's Environmental Health Officer has reviewed the submitted noise survey and confirms that the proposed relocation would be acceptable subject to noise level conditions and mitigation in the form of an acoustic enclosure. No objections have been received prior to decision making and the site's planning history has been considered. The planning history of the site has been taken into account when coming to this decision. Special attention has been paid to the desirability of preserving or enhancing the character or appearance of the conservation area, under s.72 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act 2013. As such, the proposed development is in general accordance with policies A1, D1 and D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2021 and the National Planning Policy Framework 2021. |
| --- | --- |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | This approval does not authorise the use of the public highway. Any requirement to use the public highway, such as for hoardings, temporary road closures and suspension of parking bays, will be subject to approval of relevant licence from the Council's Streetworks Authorisations & Compliance Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No 020 7974 4444). Licences and authorisations need to be sought in advance of proposed works. Where development is subject to a Construction Management Plan (through a requirement in a S106 agreement), no licence or authorisation will be granted until the Construction Management Plan is approved by the Council. |
|  | All works should be conducted in accordance with the Camden Minimum Requirements - a copy is available on the Council's website (search for ‘Camden Minimum Requirements’ at www.camden,gov.uk) or contact the Council's Noise and Licensing Enforcement Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No. 020 7974 4444) Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2021.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer