# DESIGN AND ACCESS STATEMENT REF 21021/DA

#### DATE  JAN 2022

## PROJECT

## TO REPLACE EXISTING PAINTED TIMBER & PVC-u WINDOWS

## WITH WHITE POWDER COATED THERMALLY BROKEN ALUMINIUM WINDOWS

## AT FLEET SQUARE AND WELLS SQUARE LONDON WC1XOPA

SEE BELOW FOR PROPERTYS CONCERNED

APPLICANT

ASTRASEAL

ASTRA SEAL HOUSE

FINEDON ROAD INDUSTRIAL ESTATE

WELLINGBOROUGH

NORTHANTS

NN8 4EX

CLIENT

Julie Riley Chair,NCE TRA

15 Fleet Square

WC1X0PA

New Calthorpe Estate tenants and residents association (NCE TRA)

PROPERTIES CONCERNED

1-6 FLEET SQUARE 	  NUMBERS 1,2,3,4,6

7-16 FLEET SQUARE     NUMBERS 7,8,11,12,13,14,15,16

17-19 FLEET SQUARE   NUMBERS 17,19

11 WELLS SQUARE

DESIGN PRINCIPLES AND CONCEPTS

Fleet Square and Wells Square lie within the London Borough Of Camden, Greater London controlled by Camden London Borough Council.

NCE TRA have secured funding from UCL estates to have new double glazing installed to all the properties most directly affected by the construction of the ION/RDI on the old Eastman Dentil Site.

The redesign affords the opportunity to improve the security, ventilation thermal efficiency of the windows.

The use of ‘easy clean’type hinges , restrictor stays and the fact that the windows are designed to comply with Building Regulations:

Part  B means of escape requirements, Part F ventilation requirements

Part  L thermal requirements, Part K safety glazing

The Replacement windows will be Astraseal Aluminium Eco-Futural suitable for the construction of tilt turn,pivot,fixed and open out casement windows.

This profile also includes Smart innovative polyamide thermal break technology.this ensures good levels of insulation by creating a thermal barrier between inside and outside temperatures.

In addition,EcoFutural  is also  weather tested to BS6375 Part 1:2009,security tested to BS 7950:1997 and can be coloured in a range of shades.

CONTEXT

We believe that little or no impact will be made to the economic, social and environmental context of the surrounding area.

LAYOUT

See Drawing Nos 21021/01,02,03,04,05

APPEARANCE

The replacement windows and doors will be identical, with only minor changes in style to the existing windows and doors.

AMOUNT

Not applicable

SCALE

Not applicable

LANDSCAPING

Not applicable

ACCESS TO THE DEVELOPMENT/PUBLIC TRANSPORT

Not applicable

MAINTENANCE OF ACCESS FEATURES

The replacement windows and panel frames being constructed in powder coated thermally broken aluminium will require little or no maintenance.

ADDITIONAL INFORMATION

CONTACTS: -

ASTRASEAL

MATT GREEN

BUSINESS DEVELOPMENT MANAGER   Tel 01933 227233

Mrs J.Riley Chair ,NCE TRA                      Tel 07977 801 496

DRM DESIGN AND DRAFTING

MR R.MITCHELL			      Tel 01536 506870

REF DRAWINGS

21021/01	 1-6 FLEET SQUARE

21021/02	  7-16 FLEET SQUARE

21021/03	  17-19 FLEET SQUARE

21021/04	  11 WELLS SQUARE

21021/05	  BLOCK/LOCATION PLAN