DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

62-66 Huntley Street

London

WC1E 6DD

Proposal:

Formation of openings in front and rear elevation brickwork to provide weir detail directing rainwater through lead sleeves running from parapet gutters to rainwater hopper head (retrospective).

Drawing Nos: Site Location Plan; 180575 L(2)06 D; 180575 L(2)07 F; 180575 L(2)08 G; 180575 L(0)09 E; 180575 L(0)10 E; 180575 L(2)15 A; Schedule of Works, Drawing Register and Photographs Document; Design and Access & Heritage Statement.

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: Site Location Plan; 180575 L(2)06 D; 180575 L(2)07 F; 180575 L(2)08 G; 180575 L(0)09 E; 180575 L(0)10 E; 180575 L(2)15 A; Schedule of Works, Drawing Register and Photographs Document; Design and Access & Heritage Statement. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting listed building consent (retrospective): The application site is Paul's House, made up of three adjoining grade II listed early 19th century townhouses, situated in a terrace on the east side of Huntley Street within the Bloomsbury Conservation Area. Comprising three storeys plus attics and basements, the properties were restored and adapted in recent years to provide overnight accommodation for the families of child cancer patients at UCLH and GOSH. This application retrospectively seeks approval for the formation of openings in the front and rear elevation brickwork to provide a weir detail directing rainwater through lead sleeves running from the parapet gutters to the rainwater hopper head. The installation was carried out pursuant to works approved under listed building consent ref 2018/5831/L. The installations on both elevations have minimal visual impact both in terms of the host buildings and their surrounding context. There is also minimal disturbance to historic fabric and the works are seen to be a practical way to channel rainwater away from the buildings. As such, the works cause no harm to the special interest of the listed buildings or to the conservation area context. Public consultation was undertaken by means of a site notice and a press notice, but no consultation responses were received. Bloomsbury CAAC was consulted but chose not to respond. The site's planning history was taken into account when arriving at this decision. Special regard has been attached to the desirability of preserving the listed building and its features of special architectural or historic interest, under s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. As such, the proposal is in general accordance with policy D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2021 and the National Planning Policy Framework 2021. |
| --- | --- |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
|  | This approval does not authorise the use of the public highway. Any requirement to use the public highway, such as for hoardings, temporary road closures and suspension of parking bays, will be subject to approval of relevant licence from the Council's Streetworks Authorisations & Compliance Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No 020 7974 4444). Licences and authorisations need to be sought in advance of proposed works. Where development is subject to a Construction Management Plan (through a requirement in a S106 agreement), no licence or authorisation will be granted until the Construction Management Plan is approved by the Council. |
|  | Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You are advised to consult the Council's Noise and Licensing Enforcement Team, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (Tel. No. 020 7974 4444 or search for 'environmental health' on the Camden website or seek prior approval under Section 61 of the Act if you anticipate any difficulty in carrying out construction other than within the hours stated above. |
|  | All works should be conducted in accordance with the Camden Minimum Requirements - a copy is available on the Council's website (search for ‘Camden Minimum Requirements’ at www.camden,gov.uk) or contact the Council's Noise and Licensing Enforcement Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No. 020 7974 4444) Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2021.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer