Historic Building Impact Assessment

PROPOSED EXTERNAL INVESTIGATION WORKS

GOODENOUGH COLLEGE, 15, MECKLENBURGH SQUARE, LONDON, WC1N 2AD

Introduction

The purpose of this document is to provide a Historic Building Impact Statement for the external investigation works at 15, Mecklenburgh Square, London, WC1N 2AD.

Historic Background

Mecklenburgh Square is a terrace of 24 houses forming the east side of Mecklenburgh Square in Bloomsbury, London. It is notable for the number of historic houses (in a conservation area) that face directly onto the local botanical gardens. Mecklenburgh Square and its associated properties are Grade 2* Listed and were constructed in the early 1800’s in a traditional Georgian style. The properties exterior is a formal composition of 4 storeys, basements and additional rear elevation extensions. It is our understanding that the ground floor flat extension to the rear of 15 Mecklenburgh Square was constructed approximately 30 years ago. It is currently unclear as to when (and how) the rear/side extension at 16 Mecklenburgh Square was constructed, however it can be roughly assumed that it was built around the same time period.

Designation

The property is a Grade 2* Listed.

Context of the Project

The works proposed are for investigation purposes and to further explore the existing rising damp issues along the property party walls. Works include the formation of a door opening and removal of small patches of the existing cementitious render for review of the structures behind and any damp proofing arrangements etc.

Building Assessment - Background

Many types of older buildings are subject to damp problems and this work is simply a portal for sensitively exploring the existing damp issues on site.

Existing Condition

Small opening up of the external elements at ground floor rear elevation courtyard levels to the building are proposed and therefore if the works are carried out sensitively and in accordance with any Local Authority guidance then the risk to the building is very low and is certainly in the best long term interest of the historic property from a damp perspective.

It is proposed to sensitively repair all elements (render, temporary door infill etc) in heritage areas and in conjunction with the Local Authority teams.

Summary

Generally, old buildings suffer a degradation of their external elements in terms of their character and historic interest and the sensitive investigation works proposed are to provide a long-term conservation based solution to its rising damp problem.

We would therefore recommend that the investigation works are carried out as soon as practical to minimise any further damage and particularly before the onset of the worse winter months.

Regards

Mark Reeve, BSC Hons, MRICS

Carlile Associates

31st August 2022