**16-24 WHITFIELD STREET AND 55 TOTTENHAM COURT ROAD LONDON W1**

**SCHEDULE OF DRAWING SUBSTITUTIONS ARISING FROM UKPN SUBSTATION REQUIREMENTS**

**2022/2626/P SCHEME B**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Withdrawn drawing** | **Comment** | **New submitted drawing** | **Comment** | **General note** |
| Proposed ground floor plan 430  21 06 22 | Superseded | Proposed ground floor plan 430 Rev E | New submitted drawing | Consolidated drawing with 255.03 sq m AW space and inward opening doors from street – all previously agreed with Camden and UKPN-compliant access from street and internal layout |
| Proposed ground floor plan 430 Rev D  AW area shown 255.03 sq m  17 08 22 | Superseded |  |  |  |
| Proposed Whitfield Street and NW elevation 102  21 06 22 | Superseded | Proposed Whitfield Street and NW elevation 102 Rev D | New submitted drawing | Consolidated drawing with inward opening doors and UKPN compliant street access and other changes from initial submission all previously agreed with Camden. Louvres retained for UKPN ventilation |
| Proposed Whitfield Street and NW elevation 102 Rev C  25 07 22 | Superseded |  |  |  |
| Proposed basement plan 429  21 06 22 | Superseded | Proposed basement plan 429 Rev B | New submitted drawing | Consolidated drawing with UKPN-compliant internal layout and access door to substation in current position |

**AC**

**121022**